## Slide 1: Upper Airway management
Dr Kapila Hettiarachchi

## Slide 2: Tripple mannouvor
Chin Lift
Jaw thrust
Head tilt

## Slide 3: Chin lift & head tilt

## Slide 4: Chin lift & head tilt

## Slide 5: Chin lift & head tilt

## Slide 6: Jaw thrust

## Slide 7: Jaw thrust

## Slide 8: Jaw thrust

## Slide 9: Jaw thrust

## Slide 10: Options to manage the airway
Simple airway adjuncts
  Oropharyngeal airway
  Nasopharyngeal airways
Bag-valve-mask (BVM) – ventilation
Laryngeal Mask Airway (LMA)
ET tube

## Slide 11: Simple airway adjuncts
Notes: attempted in any unresponsive patient unresponsive patient without an intact gag an intact gag reflex to help maintain an open airway.
Do not force or blindly position an OPA as malposition can force the base of the tongue against the posterior pharyngeal wall, completely obstructing
the airway
MANUAL TECHNIQUES
Nasopharyngeal Airway (NPA) Also known as trumpets, NPAs are inserted through one nostril to create a passage between the nose and the nasopharynx.
Indications:
Alternative airway for patients with clenched jaw, in whom an OPA placement is not possible.
Patients who required airway assistance, but cannot tolerate an OPA.
To provide a portal for suctioning of secretions, blood,or other debris.

## Slide 12: Rusch Color Coded Guedel Airways

## Slide 13: Guedel pattern airway

## Slide 14: Guedel pattern airway

## Slide 15: Airway obstruction
Notes: Unconscious – loss of upper airway reflexes– tongue & epiglottis fall back against the posterior pharyngeal wall—

## Slide 16: Sizing an oropharyngeal airway

## Slide 18: Oropharyngeal airway insertion

## Slide 19
Notes: Artificial airway inserted via mouth or nose creates a air passage between the tongue & the posterior pharyngeal wall.

## Slide 20
Mouth to Mask
BVM (Bag-valve-mask)
Ventilation
Notes: A bag valve mask (also known as a BVM or Ambu bag) is a hand-held device used to provide positive pressure ventilation

## Slide 21: The most important airway skill

## Slide 22: Mask Ventilation
Always the first response to inadequate oxygenation and ventilation
The first “bail-out” maneuver to a failed intubation attempt
Delay the urgency to intubate

## Slide 23: BVM Ventilation
Requires practice to master
One hand to
  Maintain face seal
  Position head
  Maintain patency
Other hand ventilates

## Slide 24: Bag-valve-mask, 2-person ventilation

## Slide 25
Sniffing the morning air!!
Notes: Airway axises – neck flexed on chest and neck fully extended
oral, pharyngeal and laryngeal aligned.

## Slide 26: Sniffing Position
Align oral,
pharyngeal,
and laryngeal axes to
bring epiglottis and
vocal cords into view

## Slide 29: BVM Ventilation: Assessment of Efficacy
How do I know I am ventilating?
Observe the chest rise and fall
Good bilateral air entry
Lack of air entering the stomach
Feeling the bag
ETco2
Pulse oximetry

## Slide 30: Laryngeal Mask Airway

## Slide 38: LMA Insertion
Notes: Blindly inserted in to the hypopharynx 7 once inflated the cuff forms a low pressure seal around the entrance in to the larynx.

## Slide 39: Laryngeal Mask Airway

## Slide 40
Laryngeal Mask Airway
Notes: An ideally positioned cuff is bordered by the base of the tongue superiorly, the piriform sinusus laterally & the upper esopheagal sphincter inferiorly.

## Slide 41
LMA Size | Patient Size
1 | Neonate / Infants < 5 kg
1 ½ | Infants 5-10 kg
2 | Infants / Children 10-20 kg
2 ½ | Children 20-30 kg
3 | Children/Small adults 30-50 kg
4 | Adults 50-70 kg
5 | Large adult >70 kg
LMA Sizing

## Slide 43: Advantages of Using LMA
Leaves provider’s hands free
Patient can produce effective cough
Allows spontaneous ventilation
Malposition even can adequately ventilate
Sore Throat- less than ETT
Better tolerated than ETT
Better than Face Mask
Minimal Cardiovascular Response
Notes: 43
Sore Throat- less than ETT and FM
Leaves Provider’s Hands Free
Better tolerated than ETT
Better than Face Mask
  even malpositioned, can still usually ventilate
Pt can produce effective cough even w/ LMA in place
allows spontaneous ventilation
Minimal CV Response- probably due to lack of direct laryngeal and tracheal stimulation

## Slide 44: Disadvantages of LMA over ETT
Lower seal pressure
Higher frequency of gastric insufflation
Increased Aspiration risk
Notes: 44

## Slide 45
Endotracheal
intubation

## Slide 46: Indications for endotracheal intubation
Provides relatively better protection against pulmonary aspiration
Maintains a patent conduit for respiratory gas exchange
Provides a means for coupling the lungs to mechanical ventilators
Establishes a route for clearance of secretions
Provides a route for drug administration

## Slide 47: Equipment
  Laryngoscope
  Tubes
  Oxygen source
  Bag & Mask
  Suction
  Lubricant
  Forceps (Magill)
  Adhesive tape
  Stylet
  Syringe

## Slide 48: Stainless Laryngoscope Blades

## Slide 49: Tracheal Tube

## Slide 50
ETT : sizes (Pediartics)

## Slide 51: Anticipate the difficulties
  Identify in advance the patient with anatomical difficulty
  Have sufficient skill and training
  Have a preformulated plan for potential disaster

## Slide 52: What do we do when we have a difficult airway ?

## Slide 53: Be prepared
Do we have all the help we need,
all Airway equipment with us?
(Suction?)
  Competence with all equipment
  Working equipment
  Be prepared for surgical management
  Master the art of bagging
  Have at least one, if not two, working IV lines

## Slide 54: Equipment
  Suction, Oxygen
  Laryngoscope, ET Tubes, Stylet
  BVM
  Monitoring equipment
    Continuous cardiac monitoring
    Pulse oximeter (continuous)
    Auto BP (ideal)
    CO2 device (ET confirmation device)
  Pharmacologic agents, mixed and ready

## Slide 55: Airway differences

## Slide 56: Airway Shape

## Slide 57: Effect Of Edema

## Slide 58: Effect Of Edema

## Slide 59: Technique of Laryngoscopy
“Sniffing” position to align oral-pharyngeal-laryngeal axis
Flex neck by placing pillow beneath occiput (raise 10 cm)
Extend head maximally
With laryngoscope
  open mouth fully
  push tongue to left out of view
  pull upward at 45 degrees

## Slide 60
Correct Placement for intubation (b)

## Slide 61: Insertion of tracheal tube

## Slide 62: Suction

## Slide 63: Airway Management

## Slide 64: Airway Management

## Slide 65: Airway Management

## Slide 66: Confirmation of ETT Placement: Clinical Evaluation
Observation of ETT placing through cords
Clear, equal breath sounds bilaterally
Absence of breath sounds over epigastrium
Symmetrical rising of chest
Condensation or “fogging” of ETT
ET co2
ALL SUBJECT TO FAILURE
Pulse oximetry is LATE indicator

## Slide 67: Confirmation of ETT Placement
Placement of ETT in the esophagus is an accepted complication of intubation
However, failure to recognize and correct esophageal intubation immediately IS NOT ACCEPTABLE
ETCO2 detection should be used on every emergency intubation

## Slide 68: Summery
Options to manage the airway
Simple airway adjuncts
    oropharyngeal airway
    Nasopharyngeal airways
Mouth to mask ventilation
Bag-valve-mask – ventilation (BVM)
Laryngeal Mask Airway (LMA)
ET tube